5610

Single hole mixer - 100 lpm

Артикул: 5610

Технические характеристики

Deck-mounted single hole mixer H. 315mm L. 300mm with swivelling, tubular spout Ø 22mm.

Star-shaped, brass flow straightener.

Water-free guided valve heads with reinforced mechanisms.

Shock-resistant, ergonomic ball levers.

Flow rate 100 lpm at 3 bar suitable for plunge sinks.

Full flow rate within the first 180°.

Spout with smooth interior.

Chrome-plated brass body and spout.

Reinforced fixings.

Soldered copper pipe water inlets.

10-year warranty.