5636

Wall-mounted pre-rinse set

Артикул: 5636

Технические характеристики

Complete pre-rinse set without bib tap.

Wall-mounted mixer, F3/4" with adjustable centres with:

- Valve heads with reinforced mechanisms with ergonomic ball levers.

- M1/2" M3/4" offset connectors.

- Non-return valves integrated in the mixer.

Black, scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

Black, reinforced, food-grade flexible hose L. 0.95m.

3/4" brass column.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.