120180

**MINI BAILA wall-mounted washbasin**

Артикул: 120180

Технические характеристики

Wall-mounted washbasin. Basin internal diameter: 310mm.

Design-led styling.

Bacteriostatic 304 stainless steel. <br>

Polished satin finish.

Stainless steel thickness: 1mm.

Rounded edges prevent injury.

Without tap hole.

Supplied with 11/4" waste. Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 4.1kg.