463030

TEMPOMATIC direct flush valve

Артикул: 463030

Технические характеристики

Cross wall electronic direct flush valve:

IP65 independent electronic unit.

Mains supply with 1" solenoid valve.

230/12V transformer.

Shock-resistant infrared presence detection sensor.

Voluntary activation or automatic flush.

Time flow ~7 seconds, can be adjusted from 3 - 12 seconds.

Detection distance, flow rate and flush volume can be adjusted.

Stopcock FF1".

Vacuum breaker Ø32mm

Connection washer Ø 32/55mm.

Wall plate flush to the wall.

Threaded rod can be cut to size.

Suitable for Rimless WC pans.

For walls ≤ 30mm.

10-year warranty.