5625

Single hole pre-rinse set

Артикул: 5625

Технические характеристики

Complete pre-rinse set with bib tap.

Single hole deck-mounted mixer with slimline control lever.

Supplied with F3/8" flexible hoses and non-return valves.

Bib tap with swivelling, tubular spout L. 200mm.

- 16 lpm full flow rate achieved within the first 90°.

- Valve head with reinforced mechanism and ergonomic control.

Black, scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

Reinforced, food-grade black flexible hose L. 0.95m.

3/4" brass column.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.