760700

TEMPOCHASSE direct flush kit

Артикул: 760700

Технические характеристики

Cross wall time flow kit for direct flush:

Cross wall control wall ≤ 190mm, can be cut-to-size.

Time flow ~7 sec.

Vacuum breaker.

In-line raw brass stopcock and flow/volume rate adjuster.

Solid brass body and chrome-plated push-button.

Shockproof mechanism.

In-line inlet F1".

Connection washer Ø 32/55mm.

With PVC angled flush tube Ø 32mm.