880

Auto-draining device

Артикул: 880

Описание ССТР

Auto-draining device in chrome-plated brass  which automatically drains the shower head and flexible hose.

Prevents water stagnation and reduces bacterial proliferation.

Inlet F1/2" with filter to connect to the bottom outlet of the mixer.

Outlet M1/2" to connect to the flexible hose.